## Page 2
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Fire Alarm & Detection Testing - Attachment 1
Customer : |  | The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Scope : |  | Fire Alarm Panel | [7 empty] | Brand & Year : | Program 27/3/1993
Location : |  | Main Guard House (Plant 1) | [7 empty] | Attachment : | Page (1/1)
Zone Testing
| Zone | Device | Qty | Location | ZONE LED |  |  | Mimic LED | Devices Function | Bell Function |  | Remark
[5 empty] | TF | TA | Isolate
| 1 | BG | 1 | 1st Floor Office
| 2 | BG | 1 | Finished Good Area
| 3 | BG | 1 | Bleading Area
| 4 | BG | 1 | Factory
| 5 | BG | 1 | Canteen
| 6 | SD | 1 | Fire Pump Room
| 7 | HD | 1 | Dry Store
| 8 | SD | 1 | Chiller Room
| 9 | FS | 1 | Factory Left
| 10 | FS | 1 | Factory Right
| 11 | FS | 1 | Factory Back
| 12 | FAP | 1 | Guard House 2
| 13 |  |  | SPARE
|  |  |  | Location | Discharge Indication |  |  | Mimic LED |  |  |  | Remark
| 1 |  |  | TNB Incoming Room
|  | BG - | Break Glass
|  | SD - | Smoke Detector
|  | HD - | Heat Detector
|  | FS - | Flow Switch
|  | FAP - | Fire Alarm Panel

## Page 4
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Fire Alarm & Detection Testing - Attachment 2
Customer : |  | The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Scope : |  | Fire Alarm Panel | [7 empty] | Brand & Year : | Program
Location : |  | Main Guard House (Factory 2) | [7 empty] | Attachment : | Page (1/1)
| Zone | Device | Qty | Location | ZONE LED |  |  | Mimic LED | Devices Function | Bell Function |  | Remark
[5 empty] | TF | TA | Isolate
| 1 | BG | 1 | Ground Floor Office
| 2 | BG | 1 | 1st Floor Office
| 3 | BG | 1 | Raw Material Area
| 4 | BG | 1 | Manufacting Area / Filling Room
| 5 | BG | 1 | Finish Goods Area / QC Area
| 6 |  |  | SPARE
| 7 | FS |  | Ground Floor Office
| 8 | FS | 1 | 1st Floor Office
| 9 |  |  | SPARE
| 10 | FS | 1 | Factory Left
| 11 | FS | 1 | Factory Right
| 12 | FAP | 1 | Main Guard House
| 13 | FS | 1 | NC Store
| 14 | BG | 1 | NC Store
| 15 | Deluge | 1 | Sub NC Store
| 16 |  |  | SPARE
17
|  |  |  | Location | Discharge Indication |  |  | Mimic LED |  |  |  | Remark
| 1 |  |  | Control Room
| 2 |  |  | Electrical Room
| 3 |  |  | Genset Room
|  | BG - | Break Glass
|  | FS - | Flow Switch
|  | FAP - | Fire Alarm Panel

## Page 5
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Gases Fire Extinguishing System Check List
Customer : |  | The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Type : |  | CO2 System
Location : |  | Factory 1
| Description |  | CO2-PO1A | Remark
Consumer HT
Switch Rm
Powertronic
1 | AC Supply |  | ( OK / NG )
2 | DC Supply |  | ( OK / NG )
3 | Battery = Range 22VDC - 28VDC AH 7 |  | 24 VDC
4 | Double Flashing Light (Green Light) |  | 1 nos
5 | Double Flashing Light (Red Light)
6 | Discharge wire dismantle before service |  | ( OK / NG )
7 | Panel Lock |  | ( OK / NG )
8 | Panel Indication LED |  | ( OK / NG )
9 | Zone Card & LED |  | ( OK / NG )
10 | Bell Tone |  | 1 nos
11 | Relay Timer |  | second
12 | Gas Discharge Signal |  | 24 VDC received
13 | Smoke Detector |  | 2 nos
14 | Heat Detector |  | 2 nos
15 | Key Switch |  | 1 nos
16 | Fire Curtain Solenoid |  | 1 nos
17 | Gas System Configuration
- | Cylinder, Hoses & Solenoid Appearance |  | 4 nos
- | Bracket & Piping - Visual Inspection |  | ( OK / NG )
- | Nozzle - Visual Inspection |  | 4 nos
18 | Panel Clear from unwanted material |  | ( OK / NG )
19 | Clean the Panel surface |  | ( OK / NG )
20 | Door Locked |  | ( OK / NG )
21 | Panel Clear From any Alarm |  | ( OK / NG )
22 | Panel Back to ready condition |  | ( OK / NG )
Remark :-

## Page 6
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Gases Fire Extinguishing System Check List
Customer : |  | The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Type : |  | CO2 System
Location : |  | Factory 2
| Description |  | CO2-PO2B | CO2-PO3B | CO2-PO4B
|  |  | Consumer LV | Genset Rm | Electrical Rm | Remark
Switch Rm
Powertronic
|  |  | 1999-10-01 | Powertronic | Powertronic
1 | AC Supply |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
2 | DC Supply |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
3 | Battery = Range 22VDC - 28VDC AH 7 |  | 24 VDC | 24 VDC | 24 VDC
4 | Double Flashing Light (Green Light) |  | 1 nos | 1 nos | 1 nos
5 | Double Flashing Light (Red Light)
6 | Discharge wire dismantle before service |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
7 | Panel Lock |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
8 | Panel Indication LED |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
9 | Zone Card & LED |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
10 | Bell Tone |  | 1 nos | 1 nos | 1 nos
11 | Relay Timer |  | second | second | second
12 | Gas Discharge Signal |  | 24VDC received | 24VDC received | 24VDC received
13 | Smoke Detector |  | 1 nos | 1 nos | 4 nos
14 | Heat Detector |  | 1 nos | 1 nos | 4 nos
15 | Key Switch / Manual Pull |  | 1 nos MP | 1 nos MP | 1 nos KS
16 | Fire Curtain Solenoid |  | 0 nos | 1 nos | 1 nos
17 | Gas System Configuration
- | Cylinder, Hoses & Solenoid Appearance |  | 3 nos | 3 nos | 7 nos
- | Bracket & Piping - Visual Inspection |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
- | Nozzle - Visual Inspection |  | 2 nos | 2 nos | 4 nos
18 | Panel Clear from unwanted material |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
19 | Clean the Panel surface |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
20 | Door Locked |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
21 | Panel Clear From any Alarm |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
22 | Panel Back to ready condition |  | ( OK / NG ) | ( OK / NG ) | ( OK / NG )
Remark :-

## Page 14
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Hydrants Inspection Check List
Customer : The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Scope : Hydrants and Fire Cabinet
Location : Factory 1 & 2
| Check Items | Unit No. | [9 empty] | Remarks
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
a. | Hydrant is accessible
b. | Any leakage from the hydrant
c. | Hydrant rubber gasket in place and in good condition
d. | Hydrant chain and cap cover intact
e. | Hand wheel for landing valve in good condition
f. | water inlet valve normally open
g. | Not any crack on hydrant
h. | Not any corrosion sign on hydrant
i. | Fire cabinet is accessible
j. | Door lock in good condition
k. | Door key in place
l. | Door hinge in good condition
m. | Nozzle in place and in working condition
n. | 2½" hose properly rolled, not twisted and in place
o. | 2" hose properly rolled, not twisted and in place | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
p. | Hose instantaneous coupling condition
q. | Clean the unwanted material from the fire cabinet
REMARK :-

## Page 15
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Hosereel Inspection Check List
Customer : The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Scope : Hosereel
Location : Factory 1 & 2
| Check Items | Unit No.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | Remark
a. | Hosereel cabinet is accessible | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
b. | Door lock in good condition and key in place | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
c. | Door glasses in good condition | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
d. | Door hinge in good condition | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
e. | Hosereel jet and spray nozzle in place and in good working condition
f. | Rubber hose not twisted and it is properly rolled around the hose drum
g. | Any leakage from hose, valve or hose drum
h. | Hose reel is accessible
i. | Inspect drum swivel joint for leakage and free swing movement
j. | Ensure stop valve handle is intact and valve is operational
k. | Clean the unwanted material from the cabinet | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
REMARK :-

## Page 16
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Fire Fighting Valves Check List
Date :
| Unit No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | Remarks
| Check Items | 2 ½" | 2 ½" | 2 ½" | 2 ½" | 8" | 6" | 2" | 2" | 8" | 6" | 6" | 3" | 6" | 8" | 8" | 2 ½" | 2 ½"
1 | Visual Checking
a | Handle ( OK / NG)
b | Valve Body ( OK/ NG )
c | Any Water Leakage ( Y/N )
d | Valve Position (Normally Open- NO/ Normally Close- NC ) | NO | NO | NO | NO | NO | NO | NO | NO | NO | NO | NO | NC | NC | NC | NO | NO | NO
e | Locked ( Y/N )
f | Check Acess is not obstructed (Y/N)
g | Any Rusted Sign (Y/N )
2 | Yearly Greasing Done ( Y/N )
| Unit No. | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | Remarks
| Check Items | 8" | 8" | 8" | 8" | 8" | 8" | 4" | 4" | 4" | 4" | 8" | 6" | 6" | 4" | 4" | 6" | 3"
1 | Visual Checking
a | Handle ( OK / NG)
b | Valve Body ( OK/ NG )
c | Any Water Leakage ( Y/N )
d | Valve Position (Normally Open- NO/ Normally Close- NC ) | NO | NO | NC | NC | NO | NO | NO | NO | NO | NO | NO | NC | NC | NO | NO | NO | NC
e | Locked ( Y/N )
f | Check Acess is not obstructed (Y/N)
g | Any Rusted Sign (Y/N )
2 | Yearly Greasing Done ( Y/N )
| Unit No. | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 |  |  | Remarks
| Check Items | 1" | 6" | 6" | 1" | 1" | 6" | 1" | 1" | 6" | 6" | 1" | 8" | 6" | 6" | 6"
1 | Visual Checking
a | Handle ( OK / NG)
b | Valve Body ( OK/ NG )
c | Any Water Leakage ( Y/N )
d | Valve Position (Normally Open- NO/ Normally Close- NC ) | bar: 35 to 49
e | Locked ( Y/N )
f | Check Acess is not obstructed (Y/N)
g | Any Rusted Sign (Y/N )
2 | Yearly Greasing Done ( Y/N )
Remark :-

## Page 20
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Customer : The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Type : Fire Extinguisher |  |  |  |  | Page : 1/3
Item | Location / Building | Type | Pressure | Serial Number | Bracket | Remark
1 | Guard House | DP |  | FF112017Y000385
2 | Factory 1 Reception | DP |  | SR092016Y175504
3 | Factory 1 Corridor | DP |  | SR092016Y175750
4 | Factory 1 Corridor | DP |  | SR012017Y027392
5 | Factory 1 UV Lab | DP |  | SR032014Y080537
6 | Factory 1 Wood Spray Room | DP |  | SR062018Y098049
7 | Factory 1 Oven Room | DP |  | SR012017Y027268
8 | Factory 1 R & D Lab | DP |  | SR082018Y595276
9 | Factory 1 R & D Lab | CO2 |  | UF052021Z217993
10 | Factory 1 R & D Spray Room | DP |  | EE032021Y036530
11 | Factory 1 Office | DP |  | SR012017Y024442
12 | Factory 1 Office | CO2 |  | SR012017Z004546
13 | Factory 1 Spill Cart 1A | DP |  | SR082018Y595923
14 | Factory 1 Spill Cart 1B | DP |  | UF012021Y955058
15 | Factory 1 Spill Cart 1C | DP |  | SR062018Y097175
16 | Factory 1 Spill Cart 1D | DP |  | SR092016Y175936
17 | Factory 1 Spill Cart 1E | DP |  | SR082018Y595344
18 | Factory 1 Inbound Warehouse | DP |  | UF042021Y958335
19 | Factory 1 Inbound Warehouse | DP |  | UF042021Y955859
20 | Factory 1 Inbound Warehouse | DP |  | UF042021Y957501
21 | Factory 1 Locker | DP |  | EE012019Y024717
22 | Factory 1 Hydrant Room | DP |  | SR082018Y595917
23 | Factory 1 Hydrant Room | CO2 |  | EE082017Z050425
24 | Factory 1 Sprinkler Room | DP |  | EE012014Y024518
25 | Factory 1 Sprinkler Room | CO2 |  | EE082017Z048070
26 | Factory 1 Studio | CO2 |  | SR012017Z005872
27 | Factory 1 Outside Server Room | DP |  | SR082018Y595407
28 | Factory 1 First Floor Staircase | DP |  | SR082018Y096419
29 | Canteen | DP |  | SR082018Y603184
30 | Factory 2 Outside | DP |  | UF032022Y962973
31 | Maintenance Office | CO2 |  | SR092018Z032471
32 | Workshop | DP |  | SR092016Y175688
33 | Workshop | CO2 |  | UF022022Z211503
34 | Outside Warehouse | DP |  | SR062018Y096472
35 | Outside Warehouse | DP |  | SR032014Y080402
36 | Storage | DP |  | SR012017Y027399
37 | Storage | DP |  | SR092016Y176051
38 | Storage | DP |  | SR012017Y023617
39 | Storage | DP |  | SR062018Y097172
40 | Schedule Waste | DP |  | SR012017Y027436
41 | Schedule Waste | DP |  | SR032014Y081417
42 | Spill Cart 2A | DP |  | UF042021Y954765
43 | Spill Cart 2B | DP |  | SR012019Y643810
44 | Spill Cart 2C | DP |  | SR012019Y640503
45 | Weighing Office | DP |  | SR012019Y640116
46 | Forklift Charging | DP |  | SR032014Y081073
47 | Plastic Wrapping Bay | DP |  | SR062018Y096216
48 | Chiller Room | DP |  | SR092016Y176060
49 | Compressor Room | DP |  | SR122016Y193674
50 | Finish Good Area | DP |  | SR062018Y096426

## Page 21
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Customer : The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Type : Fire Extinguisher |  |  |  |  | Page : 2/3
Item | Location / Building | Type | Pressure | BC | Bracket | Remark
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100

## Page 22
S & H SUCCESS ENTERPRISE (SA 0206944-T)
No. 12, Jalan Anggerik Aranda 31/21, Kota Kemuning, 40460 Shah Alam, Selangor D.E.
Tel: 012-298 0680 E-mail: axlim71@yahoo.com
Customer : The Valspar (Malaysia) Corporation Sdn Bhd
Date :
Type : Fire Extinguisher |  |  |  |  | Page : 3/3
Item | Location / Building | Type | Pressure | BC | Bracket | Remark
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122